## Slide 1: Biomedical Monitoring System
Biomedical Embedded Systems Technology
Presentation for ENSC 440/305
Instructors: Dr. Andrew Rawicz, Steve Whitmore
Department of Engineering Science
Simon Fraser University

## Slide 2: Outline
Team Members
Motivation
System Overview
Hardware
Software
Budget
Business Plan
Scheduling
Problems Encountered
Future Extensions
Questions

## Slide 3: Team Members
Alireza Rahbar (CEO)
Farzad Abasi (CTO)
Sam Sayfollahi (VP of Marketing)
Parna Niksirat (VP of Operation)
Shaghayegh Hosseinpour (VP of R&D)

## Slide 4: Motivation
28.5 % of all death in U.S. are caused by cardiovascular diseases in 2002
  World Health Organization
In 2006, heart disease was the leading cause of death in U.S.
  American Heart Association
Every minute CVD cause one death in U.S. American Heart Association

## Slide 5
Analyzing the heartbeat
Measure, amplify and record the natural electrical potential created by the heart
ECG Signal Bandwidth: o.5Hz ~ 100 Hz
ECG Signal Amplitude:~1mV
Electrocardiogram (ECG)

## Slide 6
Electrocardiogram (ECG)

## Slide 7: Our Design
Non-invasive and mobile
Monitoring result is transferable to medical professionals
Affordable

## Slide 8: System Overview

## Slide 9: Hardware Overview

## Slide 10: Hardware- ECG Circuit

## Slide 11: ECG Circuit-Block Diagram
PROTECTION
CIRCUIT
DIFFERENTIAL AMPLIFIER
(AD620)
NOISE FILTERING & AMPLIFICATION
OUTPUT
RIGHT LEG
DRIVE
INPUTS
(Right & Left Hand Signals)

## Slide 12: Hardware- Microcontroller
8bit RISC AVR Processor (A T mega644)
10MHz External crystal oscillator
8 digit to analog (ADD) 10 bit resolution
15 Digital Input/Output
UART interface
64K Internal Program Flash
2K Internal EEPROM
4K Internal SRAM
8 MB External Serial Flash: Suitable to save acquired data from sensor

## Slide 13: Hardware- Wireless
Power Output: 100 mW (20 dBm)
Indoor/Urban range: Up to 1200 ft(370m)
Outdoor/RF line-of-sight range: up to 15 miles (24 km)
Receiver sensitivity: -106 dBm
RF data rate: 9.6 Kbps
Supply Voltage: 3-3.6 VDC
Frequency Band: 910-918 MHz

## Slide 14: Software Overview
Graphical User Interface (GUI)
Wireless Module
Data Acquisition System
On-Board Flash Memory

## Slide 15: GUI

## Slide 16: Software Overview
16
Graphical User Interface (GUI)
Wireless Module
Data Acquisition System
On-Board Flash Memory

## Slide 17: Wireless
Acquire data from micro-controller
Send data to receiver
Receive data
Communicate with GUI

## Slide 19: Business Plan
Estimated Cost For Mass Production:
Subsystem Estimated
Micro-Controller $15
Wireless Module-Dash7 VIII (Biomedical) $5
PCB $3
Total Cost $23

## Slide 20: Proposed and Actual Budget
Subsystem Estimated Actual
Micro-controller $40 $107
Daughter board module for USB connection $40 $66
Connector module for micro-controller and related wires $10 Borrowed
Heart beat sensor (ECG) leads and wires $250 Borrowed
Wireless (transmitter and receiver) $100 $100
Shipping costs $40 $20
Parallel port to USB converter $20 $10
ECG circuit parts $50 $180
Total cost $550 $483

## Slide 21: Schedule
Blue Line : Actual Time
Gray Line : Estimated Time

## Slide 22: Problems Encountered
Micro-Controller Communication Problems
  Synchronization of data
Wireless Communication problem
  One UART port available
Graphical User Interface (GUI)
  CPU Usage
  Slow-motion graphing
ECG Circuit and Noise
  Noise reduction
  Differentiation

## Slide 23: Future Extensions
Making the device more user-friendly and practical by using:
Printed Circuit Board (PCB) instead of breadboard
Bluetooth transmission instead of Xbee module
Additional electrodes
More efficient wireless module (Dash7)

## Slide 24: Conclusion
Portable ECG monitoring device
  Wireless functionality
  USB Connectivity
  On-Board Flash Memory
  Custom ECG circuit
  Graphical User Interface (GUI)
Importance of team work & collaboration
Problem Solving

## Slide 25: Thanks to
Dr. Andrew Rawicz
Steve Whitmore
Dr. Lucky One
Engineering Student Society
Dr. MehdiMoradi
Dr. Ash Parameswaran
Steve Swift
Ali Ostadfar
Sara Moghaddamjoo
Arash Ahmadi

## Slide 26: Questions